| Broker: | Broker Email: |
| --- | --- |
| Insured: | Policy No.: |
| Street Address: | City: | Province: | Postal Code: |
| Location of oil tank: | Inside Residence | Outside Residence | Underground |
| Type of Tank: | Steel | Steel with interior liner | Fiberglass | Other |
| Construction Approval Label: | CSA | ULC | WH | UL (to Canadian Standards) |
| Spill Protection: | Concrete Dam - Yes No | Other Containment Devices - Yes No |
| Tank Support (Base Construction): | Concrete | Wooden | Dirt |
| Is tank fastened with a bracket for stability? | Yes No | If inside, is tank filled and vented outside? | Yes No |
| Is vent stack located higher than fill pipe? | Yes No |  |  |
| Age of oil tank years. (check tank for sticker or stamp with date) | Is there a sticker or stamp? | Yes No |
| Any rust, dents or evidence of corrosion? | Yes No |
| Signs of leaks or oil spills, current or past? | Yes No Specify: (fill pipe, vent pipe, fuel line, drain) |
| Are fumes or odors evident? | Yes No |
| Is tank inspected and serviced annually? | Yes No |
| Is tank safe from vehicle impact? | Yes No |
| Is there 61 cm/2 feet of clear airspace around the tank (helps provide condensation relief)? | Yes No |
| Has the tank been painted for corrosion protection | Yes No |
| Is the fuel supply line protected from physical damage? | Yes No |
| Is tank filled regularly (keeping the tank filled helps prevent condensation – water build up inside the tank)? | Yes No |
| Is the tank located at least 1.6 m/5 feet from any ignition source? | Yes No |
| Is there a loop in the fuel line supply? | Yes No |
| Where is the line filter located in relation to the house? | Inside Outside |
| Is the fuel line protected where it passes through the foundation? | Yes No |
| Where is the tank outlet located (supply line to furnace)? | Top Side Bottom |
| Distance from fuel tank to furnace? | M Ft |
| Please attach photograph of installation, including fuel line. |  |
| 20. Other Comments: |
| DECLARATION / CONSENT |
| PLEASE READ BEFORE SIGNING: A claim will become invalid and the Insured’s right of recovery is forfeited where (a) an Applicant for this contract gives false particulars to the prejudice of the insurer or knowingly misrepresents or fails to disclose any fact in any part of this application required to be stated therein; or (b) the insured fails to inform material changes to these facts during the term of the contract; (c) the insured contravenes a term of the contract or commits a fraud; or (d) the insured willfully makes a false statement in respect of a claim. The Applicants have reviewed all parts and attachments of this application and acknowledge that all information is true and correct and understand that this application for insurance is based on the truth and completeness of this information. The personal information provided in this document and in the future including, but not limited to, credit information and claims history may be collected, used and disclosed by the insured’s representative or insurance company, subject to local legislation, for the purpose of communicating with the insured or their representative, assessing the application for insurance and underwriting any such policies, evaluating claims, detecting and preventing fraud, and analyzing business results. I confirm that all individuals whose personal information is contained in this document have authorized that I agree to the above on their behalf. NOTE: Insurance is not in effect until Premier has issued a binder or policy documents. |
| Signature of Applicant | Date |

Premier Marine Insurance Managers Group (WEST) Inc. is one of Canada’s largest Managing Underwriting Agents. The underwriting insurance carrier varies by line of business and region - please refer to specific quote for declaration of the underwriting insurance company(s).

| ** Email application and attachments to - newbizpersonal@premiergroup.ca ** |
| --- |
| Vancouver - T 604.669.5211 F 604.669.2667 | Toronto - T 416.365.0444 F 416.365.0446 |